| Drill | D411 |
| --- | --- |
| Category | Emergency Response |
| Type | Security measures compromised |
| Subject | Security surveillance equipment malfunction |
| Security Level | 1 and 2 |
| References | 1. Port Facility Security Plan 2. Relevant Port Facility security instructions, regulations and memorandums 3. APEC Manual of Maritime Security Drills and Exercises Vol I Part 1 – Guidelines for the Conduct of Maritime Security Drills 4. ISPS Code |

INTRODUCTION

1.	Surveillance equipment are an important defence against security threats to a Port Facility. They include cameras, motion sensors, thermal sensors, vibration sensors (for fences), magnetic sensors (for doors and windows), etc. In order to ensure their continued effectiveness, most operators will specify daily checks of their operational status in their security instructions or procedures. However, detection of equipment failures during operation would still have to depend on the vigilance of the security staff who monitor the equipment.

2.	This drill will require security staff to respond to two surveillance system malfunctions that will be initiated by the controllers as technical defects. Upon detection of the malfunction alarm, security staff are expected to act in accordance with the equipment operating instructions and Port Facility Security Plan.

AIM OF THE DRILL

3.	General Objective

To raise the awareness of the risk from failures of security measures at the Port Facility.

4.	Specific Objectives

a.	To test the vigilance of security staff to failures of the surveillance equipment.

b.	To raise the awareness of the security risk from surveillance equipment failures.

c.	To test the procedures for the management of surveillance equipment failures.

d.	Meet or better the specified benchmark response times for this drill.

REQUIRED ATTAINMENTS

5.	On completion of the drill, Port Facility employees and security staff will be able to:

a.	Detect failures in surveillance equipment.

b.	Perform the checks to confirm the nature of the failure.

c.	Report the failure and track the rectification process.

PLANNING FOR THE DRILL

6.	Timetable

The date for the conduct of this drill should be scheduled in the Port Facility’s annual work program. Preparations for this drill should commence 2 weeks prior to the date of conduct. An example of a time-table for the preparation and conduct of this drill is given in Appendix 1

7.	Personnel

a.	Control Team

(1)	The Chief Controller may be the Port Facility Security Officer (PFSO) or a manager in charge of security matters. Where the first line response by security staff involves the PFSO, a manager should be considered for the appointment of Chief Controller. This will free the PFSO to respond to the situation as it develops during the drill.

(2)	The Chief Controller is to co-opt a member of the Port Facility security staff as a controller.

b.	Participants

The participants will be the Port Facility security staff.

- Safety Officer

The appointment of a safety officer for this drill may be considered.

8.	Resources

a.	Surveillance Systems

The Chief Controller will determine which surveillance systems would be involved in the drill. He will consult with the suppliers to establish how to simulate a defect in the surveillance system so that a failure alarm would be activated that security staff would be able to respond to.

b.	Communications

(1)	Equipment

(a)	Mobile phone:  It is recommended that mobile phones should be the preferred means of communications between the Chief Controller and the controllers, subject to the availability of a cell phone network at the location of the Port Facility.

(b)	Walkie-talkie:  When using walkie-talkies, note that they have a short range and short battery life. They are usually bulky and may not be easily concealed, and they may be subject to interference if left switched on, leading to discovery at awkward moments.

(2)	Code words

Code words are used to provide brevity and clarity in communications during the conduct of a drill. A list of suggested code words is given in Appendix 2. The code words must be promulgated to all controllers and participants of the drill.

(3)	Security

Consideration should be given to the possible disclosure of confidential information (e.g. details in the PFSP) in all exchanges connected with this drill, and appropriate precautions taken to avoid the release of such information to persons not authorized to receive it.

c.	Other requirements

(1)	Location for the debrief

(2)	Refreshments e.g. during the debrief

(3)	Person to take notes during the debrief

(4)	Stationery for note-taking

9.	Safety

Security staff activity in connection with this drill would be monitored by the Safety Officer, if one is appointed. The Safety Officer should station himself at a location where he would be

a.	Able to observe the majority of events

b.	Near where potentially hazardous activity may take place

c.	Accessible should he be required in a contingency

10.	Budget

Funding may be needed for the following:

- Refreshments for the debrief.

- Reimbursement of expenses incurred by controllers or staff.

11.	Policy for disclosure

a.	The Chief Controller should decide if the drill is to be announced (i.e. participants such as security staff will be notified of the conduct of the drill) or the conduct of the drill will not be announced beforehand (i.e. the participants will not be informed of the conduct of the drill).

b.	In deciding the mode, the following may be taken in to consideration:

(1)	Security - Where it is assessed that confidentiality is uncertain or difficult to maintain, it is preferable to opt for an announced drill.

(2)	Organizational culture - Unannounced drills may be perceived as a test of the participants.

(3)	Ships at the Port Facility - Where it is anticipated that the drill may impact in any way on ships alongside, their crew, agents, suppliers or contractors, ships alongside should be notified in advance of the drill.

12.	Management endorsement

The Chief Controller should seek approval from management for the conduct of the drill. Management should be informed of the drill prior to its conduct, even if formal approval is not required.

CONDUCTING THE DRILL

13.	Master Events List

a.	The drill begins with one security surveillance system experiencing a technical malfunction. The Chief Controller will initiate the malfunction simulation with the advice or assistance of the equipment suppliers. Mid-way through the security staff response to the first malfunction, the Chief Controller may activate the second equipment malfunction. Security staffs are expected to respond to the two surveillance system malfunctions in accordance with the Port Facility’s security instructions.

b.	The “injects” (simulated events) for the conduct of the drill are provided in the example of a Master Events List at Appendix 3. These would be introduced on schedule or on completion of the preceding event. Adjustments would be made to cater to the prevailing circumstances.

14.	Controller briefing

a.	The briefing to controllers will be conducted by the Chief Controller and should include the following:

(1)	Roles to be played by controllers.

(2)	Positions of controllers at the commencement of the drill.

(3)	Transport arrangements.

(4)	Suggested responses to questioning by security staff.

(5)	Safety measures.

b.	Scenario

A surveillance camera and a motion sensor experience technical malfunctions.

c.	Tasks

(1)	The Chief Controller will select the surveillance equipment to be disabled for this drill. The process of disabling the equipment will depend on the specific equipment, but such disablement must not result in damage to the equipment.

(2)	The security staff co-opted as controller will disable the surveillance equipment as directed by the Chief Controller and note the time of disablement. He must not be observed by security staff on duty.

(3)	Upon disabling the motion sensor, the controller will remain at the location to check the time of arrival of any security team investigating the cause of the alarm.

(4)	The Chief Controller will conduct the drill in accordance with the events listed in the Master Events List.

(5)	The Chief Controller should position himself at a suitable location to discreetly observe the proceedings.

15.		Participant briefing

a.	A briefing to participants should be scheduled if it is decided that the drill is to be announced (paragraph 11). The brief to participants should include the following:

- Review of the previous drill, including the lessons learnt

- Objectives and scenario of the drill to be conducted

- The Port Facility’s security instructions pertaining to the drill being conducted

- Update on the ISPS Code and/or local regulations

- Developments in maritime security (news, events, etc)

b.	It should not include information or details of the controllers’ plans for the drill.

16.	Briefing Aids

Briefing slides and notes are provided in the accompanying PowerPoint files. With entries for the names, dates, locations, etc. these may be used to conduct the briefing to controllers and to participants.

17.	Conditions

The Port Facility is to proceed with its daily business as usual. No prior preparations on the part of the participants and/or security arrangements are required for the conduct of this drill.

18.	Performance Measurement

a.	Performance indicators should be established for this drill. Some may be dependent on the specific circumstances of the Port Facility. Ideally, performance indicators should be objective, but subjective ones may also be observed by the controllers, e.g. the degree of compliance with Port Facility security instructions.

b.	The following objective performance indicators are the target benchmark response times to be achieved for this drill:

| FROM | TO | DURATION (minutes) |
| --- | --- | --- |
| Activation of surveillance camera malfunction alarm | Deployment of repair team | u |
|  | Informing PFSO | v |
|  | Deployment of additional security detail | w |
| Activation of motion sensor malfunction alarm | Deployment of repair team | x |
|  | Informing PFSO | y |
|  | Deployment of additional security detail | z |

CONCLUDING THE DRILL

19.	The drill shall be ended under the following circumstances:

a.	When all “malfunctioning” surveillance equipment has been detected. The time of detections must be noted.

or

b.	At a pre-determined time after the commencement of the drill.

or

c.	Upon the Chief Controller’s instruction.

20.	Debrief

a.	Allow some time for the controllers and security staff to gather their thoughts on the events, in preparation for the debrief.

b.	Assemble all participating security staff for debrief

c.	The Chief Controller should conduct the debrief

d.	Appoint a note-taker to record the salient points of the discussion and in particular the lessons learnt and any follow-up actions required. Guidance should be provided to the note-taker as to what is to be recorded.

21.	Reports

a.	Report the conduct of the drill to the management, either with a written report or verbally, as required by the management. An example of a report is provided at Appendix 4.

b.	If a written report is submitted, arrange for a briefing on the drill to be given at a management meeting to inform top management of the proceedings.

22.	Records

An ISPS Drills and Exercises Record Book should be maintained by the Port Facility. The following is an example of an entry in the ISPS Drill and Exercises Record Book:

| ISPS Port Facility Drills and Exercises Record Book |
| --- |
| DATE | EVENT | TYPE | SUBJECT | REPORT REFERENCE |
| 15/10/XX | Drill | Emergency Response – Security measures compromised | D411 - Security surveillance equipment malfunction | PF/101/08-D411 dated xx/yy/zzzz |

Appendix 1

D411 TIME-TABLE FOR PLANNING

| DAYS TO DRILL | DATE | EVENT | CHECK |
| --- | --- | --- | --- |
| D -14 | (calendar | Review the Guidelines |  |
| D -14 | dates to be | Confirm budget availability for items and/or services to be employed during the drill |  |
| D -12 | inserted) | Identify the drill control team |  |
| D -10 |  | Obtain management endorsement if it is required |  |
| D -7 |  | Refine or adjust the Master Events List if necessary |  |
| D -5 |  | Confirm the participants |  |
| D -2 |  | Brief the controller |  |
| D day |  | Conduct the drill |  |
| D day |  | Perform the debrief and record the lessons learnt |  |
| D day |  | Record the conduct of the drill |  |
| D +1 |  | Prepare the written report on the drill |  |
| D +2 |  | Report the conduct of the drill to management |  |

Appendix 2

CODE WORDS

Code words are used to provide brevity and clarity in communications during the conduct of a drill. The code words listed below may be used to control the drill. They are generally initiated by the Chief Controller. Additional code words may be coined for specific circumstances.

| CODE WORD | MEANING |
| --- | --- |
| Drill Start | The drill is to commence |
| Drill Suspend | The drill is temporarily suspended |
| Drill Go | The drill is to resume from where it was suspended |
| Drill Stop | The drill is to be terminated (prematurely) |
| Drill End | The drill is completed |
| For Exercise | The message or statement that follows this preamble relates to the drill only, and is not to be confused with real activity. This should be used to prefix all telephone or radio communications relating to simulated events for the drill e.g. “For exercise, I am from the Black September terrorist group. A bomb has been placed in your lobby.” |
| No Duff | The message or statement that follows this preamble relates to a real event or instruction e.g. “No duff, Mr. KLJ has fallen and cut his hand at the Restricted Area Gate 3. Please send a vehicle to pick him up.” |

Appendix 3

D411 MASTER EVENTS LIST

| SERIAL NO. | TIME | EVENT/INJECT | EXPECTED RESPONSE | LOCATION |
| --- | --- | --- | --- | --- |
| Date: 12 Oct XX |  |  |  |
| 001 | 1600 | Controller briefing |  | Chief Controller’s office |
| Date: 17 Oct XX |  |  |  |
| 002 | 0900 | Participant briefing* |  | Port Facility |
| 003 | 0930 | Controller final briefing |  | Chief Controller’s office |
| 004 | 1000 | All security staff at respective positions |  | As appropriate |
| 005 | 1015 | Controllers at respective positions |  | Chief Controller at Security Office |
| 006 | 1016 | Drill commence |  | Port Facility |
| 007 | 1020 | Controller to simulate malfunction in surveillance camera No. 6 | Security staff monitoring the surveillance cameras to detect “malfunction” | Perimeter fence |
| 008 | 1130 | Controller to simulate malfunction in motion sensor No. 9 and remain in that location | Monitor alarm should sound and security staff to take action to investigate | Perimeter fence |
| 009 | 1200 | Drill End | Dispersal of personnel |  |
| 010 | 1430 | Debrief | Controllers and security staff to report findings and lessons learnt | Staff recreation room |
| * Not required if the drill is to be conducted without prior notice to the participants |

Appendix 4

REPORT ON THE CONDUCT OF SECURITY DRILL D411

| Type of Drill | Emergency Response – Security measures compromised |
| --- | --- |
| Drill Conducted | Security surveillance equipment malfunction |
| General objective | To raise the awareness of the risk from failures of security measures at the Port Facility |
| Date and time | 15 October XXXX at 0900 hrs. |
| Duration | 5 hrs |
| Controllers | Mr GHJ, Manager, Safety and Security – Chief controller Mr YHU, Controller |
| Participants | Security staff from Team 2 and Team 3 Participants were not briefed on the conduct of this drill |
| Significant events | 1. Mr YHU was tasked to induce malfunction of surveillance equipment by: a. Covering the lens of security camera No. 6 b. Disabling motion sensor No. 9 2. Security staff monitoring the camera displays did not notice the malfunctioning camera until 17 minutes after the lens was covered. This was because the display was left in “scan” mode where the monitor showed the picture of only 1 camera at a time. Just before camera No. 6 came on-screen, the security staff was distracted by a visitor wishing to obtain a visitor’s pass. On completion of processing the visitor, the scan had passed camera No. 6. |

| Significant events | 3. The disabling of the motion sensor caused an alarm to sound at the security station. The security staff took prompt action to get a team to investigate the cause of the alarm at the site of motion sensor No. 9. They arrived 8 minutes after the alarm sounded. Include photographs if relevant |
| --- | --- |
| Lessons learnt | 1. As there is only one security staff on duty at the Security Office, and he has to attend to visitors as well, he cannot pay attention to the camera monitor all the time. 2. No action was taken to ascertain if the alarm was a false alarm caused by equipment failure in the monitoring station. Time would be saved for rectification if simultaneous action were taken to check this. Include photographs if relevant |
| Follow-up action | 1. Security staff on duty at the Security Office should switch the camera monitor to multiple view (i.e. camera shows a montage of all camera views on screen at the same time) and have a quick check before turning their attention to other matters, such as attending to visitors. 2. PFSO will put up a proposal to consider motion alarm software for the camera display. 3. The Port Facility security instructions will be amended to include a requirement for security staff to simultaneously call for maintenance support to check security alarms when these are activated in addition to calling for the security team to check at the sensor site. |

| Performance indicators | 1. From the Activation of surveillance camera malfunction alarm to the Deployment of repair team – u minutes 2. From the Activation of surveillance camera malfunction alarm to Informing the PFSO – v minutes 3. From the Activation of surveillance camera malfunction alarm to the Deployment of additional security detail – w minutes 4. From the Activation of motion sensor malfunction alarm to the Deployment of repair team – x minutes 5. From the Activation of motion sensor malfunction alarm to Informing the PFSO – y minutes |
| --- | --- |
| Total cost | $xxx |